Disclaimer: The following examples show neutral, performance-based tender texts for selected construction monitoring and quality assurance topics. They are intentionally written without manufacturer or product references and can be adapted to local standards and project requirements.

Short tender text (BoQ-ready)

System for monitoring and documenting concrete compaction during placement.

Detailed tender text

Supply and operation of a monitoring system for assessing concrete compaction during the concreting process. The system shall record indicators related to vibration or compaction activity and provide objective data on whether sufficient compaction has been applied in defined concrete sections. The objective is to support proper execution of compaction works, reduce the risk of honeycombing or insufficiently compacted concrete, and improve overall concrete quality. Measurement data shall be documented and made available for quality assurance and verification purposes.

Example product: PHONO by Vemaventuri. Other equivalent products are permissible.