Disclaimer: The following examples show neutral, performance-based tender texts for selected construction monitoring and quality assurance topics. They are intentionally written without manufacturer or product references and can be adapted to local standards and project requirements.

Short tender text (BoQ-ready)

System for continuous measurement of concrete temperature and determination of concrete maturity to support safe stripping and loading decisions.

Detailed tender text

Supply and operation of a digital measurement system for continuous recording of concrete temperature and calculation of concrete maturity in real time. The system shall enable an objective assessment of strength development. The objective is to safely and economically determine stripping and loading times and optimize construction schedules. All recorded data shall be automatically documented and available for project-specific evaluation and archiving.

Example product: TEMO by Vemaventuri. Other equivalent products are permissible.