Disclaimer: The following examples show neutral, performance-based tender texts for selected construction monitoring and quality assurance topics. They are intentionally written without manufacturer or product references and can be adapted to local standards and project requirements.

Short tender text (BoQ-ready)

System for determining the water content of fresh concrete and monitoring the water-cement ratio (w/c ratio) to ensure compliance with specified concrete quality requirements.

Detailed tender text

Supply and operation of a digital measurement system for determining the effective water content of fresh concrete during placement. Based on the measured water content, the system shall support the assessment and monitoring of the water-cement ratio (W/C ratio) of the fresh concrete in relation to the specified mix design or project requirements. The objective is to enable objective quality control of fresh concrete, support compliance with specified W/C ratio limits, and reduce the risk of quality deviations, rework, and long-term durability issues resulting from excessive or insufficient water content. Measurement results shall be digitally documented and provided on a project basis for quality assurance, verification, and traceability.

Example product: SONO Hub by Vemaventuri. Other equivalent products are permissible.